CEYLON ELECTRICITY BOARD

WESTERN PROVINCE SOUTH 2 (WPS2) TENDER DIVISION

TECHNICAL EVALUATION & COMPLIANCE REPORT - GOODS PROCUREMENT

## 1. TENDER & BIDDER IDENTIFICATION

| Tender Reference No: | CEB/WPS2/2026/GOODS-XXXX | Procurement Category: | Goods & Equipment |
| --- | --- | --- | --- |
| Bidder / Supplier Name: | [INSERT BIDDER COMPANY NAME] | Evaluation Date: | [DD / MM / YYYY] |

## 2. TECHNICAL EVALUATION COMMITTEE (TEC)

• Chairman: Eng. [Chairman Name], Chief Engineer (WPS2)
• Member 1: Eng. [Member 1 Name], Executive Engineer (Distribution)
• Member 2: Eng. [Member 2 Name], Electrical Engineer (Planning)

## 3. TECHNICAL COMPLIANCE CHECKLIST

| Item | Technical Parameter | CEB Required Standard | Offered Specification | Compliant | Remarks / Deviation |
| --- | --- | --- | --- | --- | --- |
| 1.0 | Rated Voltage | 33 kV / 11 kV Dual Rating | 33 kV / 11 kV Dual Rating | YES | Meets IEC 60076 standard |
| 2.0 | Winding Material | 100% Electrolytic Copper | 100% Electrolytic Copper | YES | Test certificate verified |
| 3.0 | Type Test Certificate | KEMA / CESI Accredited Lab | KEMA Report No. KM-8842 | YES | Issued within last 5 yrs |
| 4.0 | Warranty Period | 36 Months Minimum | 36 Months Full Warranty | YES | Manufacturer letter attached |

## 4. OVERALL RECOMMENDATION

[  ] TECHNICALLY COMPLIANT AND RECOMMENDED FOR COMMERCIAL OPENING
[  ] REJECTED - NON-COMPLIANT WITH CEB TECHNICAL SPECIFICATIONS
TEC Comments & Summary Justification:
The submitted proposal fulfills all major technical parameters and complies with CEB specifications. Recommended to proceed to commercial bid evaluation.

## 5. TEC COMMITTEE SIGNATURES

| ________________________ TEC Chairman Date: _______________ | ________________________ TEC Member 1 Date: _______________ | ________________________ TEC Member 2 Date: _______________ |
| --- | --- | --- |